## Sheet1
Sl.no. | Name of 11 KV feeder | Name of village | Name of DTR | Capacity KVA | LT Poles |  | AB cable length |  | DISMATLING OF MATERIALS |  |  |  | Remarks by Concerned Firms | Remarks and Work Quality by concerned Inspection official( to be filled with very Good/Good/Bad)
[5 empty] | Total to be erected (nos) | Progress/ Completed (nos) | Total to be Strung (kms) | Completed (kms) | Conductors to be dismantled (Kms) | Completed (Kms) | Poles to be dismantled (Nos) | Completed (Nos) |  | Pole Erection | AB cabling Stringing | Pole painting | Pole muffing
1 | Eastern Feeder No-I | Ngairangbam | Ngairangbam Awang | 100 | 31 | 69 | 4.2 | 4.5 | 9.8 | 9.5 | 12 | 0 |  | bad | bad | bad | good
2 | Eastern Feeder No-I | Ngairangbam | Ngairangbam Makha | 100 | 35 | 60 | 4.6 | 5 | 10.7 | 10 | 9 | 0 |  | bad | bad | good | good
3 | Eastern Feeder No-I | Khumbong | Khumbong Awang | 100 | 16 | 41 | 2.3 | 3 | 5.5 | 6 | 7 | 0 |  | very good | very good | good | good
4 | Tera Feeder | Khumbong | Khumbong Makha | 100 | 21 | 8 | 3 | 2.8 | 7 | 6.8 | 9 | 0 |  | very good | very good | good | good
5 | Eastern Feeder No-I | Khumbong | Khumbong Bazar | 100 | 13 | 13 | 1.1 | 1 | 2.4 | 2.5 | 7 | 0 |  | very good | very good | good | good
6 | Eastern Feeder No-I | Khumbong | Khumbong Bazar Maning | 100 | 8 | 9 | 1.1 | 1 | 2.4 | 2.5 | 3 | 0 |  | good | good | good | good
7 | Eastern Feeder No-I | Khumbong | Khumbong Joypurkhul | 100 | 19 | 16 | 3 | 3.2 | 6.8 | 6.5 | 10 | 0 |  | good | good | good | good
8 | Eastern Feeder No-I | Khaidem | Khaidem Awang | 63 | 23 | 17 | 2.7 | 3 | 6.3 | 6 | 6 | 0 |  | bad | bad | good | good
9 | Eastern Feeder No-I | Khaidem | Khaidem Mayai | 100 | 22 | 32 | 3.2 | 3.1 | 7.5 | 7 | 8 | 0 |  | bad | good | bad | good
10 | Eastern Feeder No-I | Khaidem | Khaidem Makha | 63 | 12 | 38 | 3.2 | 3 | 7.4 | 7.2 | 4 | 0 |  | good | good | good | bad
11 | Eastern Feeder No-I | Khaidem | Khaidem Awang Maning | 25 | 8 | 5 | 2.5 | 2.6 | 6.2 | 6 | 3 | 0 |  | good | good | good | good